## Slide 1: Early Detection of TM Utilities Failure via Thermal Imaging
FAUZY CHE YAYAH , Mohd FAIROZ AKASHAH, MAY YEONG HUI TZE
ITNT
TEAM NAME : THERMAL

## Slide 2: Problem Statement
Electric power utilities are faced with an aging infrastructure, increasing risk of blackouts and brownouts.
A brownout is a drop in voltage in an electrical power supply, so named because it typically causes lights to dim. Utilities also face costly unplanned maintenance and rising costs
Utilities are looking for ways to address these issues in order to improve the reliability of electric power delivery while at the same time reducing costs.
By using thermal imaging cameras and automation software, future equipment failures can be detected anytime, day or night, at a remote monitoring location.
The net effect is increased reliability and reduced cost.

## Slide 3: Proposed Solution
Development of a mobile application to capture thermal images.
Taking images from various TM Utilities ( MSAN, DSLAM, CABINETS, etc. )
Obtaining GPS location of the selected equipment.
Thermal image processing extraction using standard FLIR images via Exif.
Quantitative way detection of the outlier of thermal images.
Clustering the temperature matrix and getting the temperature reading (min, max, average).
Thermal image gallery display via OpenShift (PHP Application Hosting)

## Slide 4: Required API & Software
OpenShift with R , Rstudio Shiny
  https://stefanopicozzi.blog/2016/11/17/r-using-rstudio-server-with-openshift/
  https://github.com/openshift-quickstart/r-quickstart
  https://github.com/primaryobjects/shiny-ekergy
OpenShift PHP Application Hosting & MySQL Server
ThermImage R package - https://cran.r-project.org/web/packages/Thermimage/index.html
ExifTools - http://www.sno.phy.queensu.ca/~phil/exiftool/install.html
Netbeans 8.1 for Mobile Development - https://netbeans.org/downloads/8.1/?pagelang=
Gradle Plugins - http://plugins.netbeans.org/plugin/44510/gradle-support
Android SDK 25.2.5 - https://developer.android.com/studio/releases/sdk-tools.html
Flir SDK - https://flir.box.com/shared/static/c2kr3aru63jymmnvgu0lxdn9l708j1k4.zip

## Slide 5
Forward looking infrared (FLIR)

## Slide 8: System Architecture

## Slide 9: Type of thermal images
White Hot
Black Hot
Rainbow
Contrast
Arctic
Larva
Coldest
Hottest

## Slide 10: Hardware
CAT S60 Model
Android 6.0 Marshmallow
FLIR Thermal Camera
IP68 Certified
Category 4 vibration

## Slide 11
Thank You

## Slide 12: Reference
http://www.flir.com/automation/display/?id=41743